## Slide 1: Analysis of the First MEG Physics Data to Search for the Decay μ+→e+γ (MEG最初のデータによるμ+→e+γ崩壊の解析)
16/September/2011
日本物理学会２０１１年秋季大会
ICEPP, the University of Tokyo
内山 雄祐

## Slide 2
μ+→e+γ search experiment, MEG started physics data taking in 2008.
We analyzed the first 3 months data.
The analysis and the result are presented.
Introduction
MEG experiment and apparatus
RUN2008
Analysis
  Detector analysis & performance
  μ+→e+γ search analysis
Discussion
Status & prospect
Conclusion

## Slide 3: Subject of research
Normal muon decay
(Michel decay)
Lepton flavors are conserved
GUT
×
Lepton-flavor violating muon decay : μ→eγ
  charged LFV : Forbidden in SM
  Out of experimental reach with finite n mass (BR<10-54)
  Clear probe to new physics beyond SM
    Large BR is predicted in many new physics models
      SUSY-seesaw, SUSY-GUT…
μ→eγ decay
CKM
n oscillation

## Slide 4: μ → eγ search
History of μ→eγ search
MEG
Predicted by SUSY-GUT
Existing experimental upper limit
  B(μ→eγ)<1.2×10-11 (90%CL)
  (1999, MEGA@LAMPF)
A μ→eγ signal is a clear evidence for new physics
  No SM background, no hadronic uncertainty.
MEG aims at searching down to O(10-13)

## Slide 5: Signal & Background
at rest
Signal
52.8MeV
Back-to-back
Time coincidence
Physics BG
(Radiative muon decay)
<52.8MeV
Any angle
Time coincidence
Accidental BG
<52.8MeV
Any angle
Random
Dominant
×
e+ single spectrum
(Michel decay)
γ single spectrum
(Radiative muon decay)
signal
signal
RBG ∝ Rμ2・fe・fγ・δω/4p・δt

## Slide 6: Signal & Background
at rest
Signal
52.8MeV
Back-to-back
Time coincidence
Physics BG
(Radiative muon decay)
<52.8MeV
Any angle
Time coincidence
Accidental BG
<52.8MeV
Any angle
Random
Dominant
×
e+ single spectrum
(Michel decay)
γ single spectrum
(Radiative muon decay)
signal
signal
High rate e+ measurement
High resolution γ measurement
RBG ∝ Rμ2・fe・fγ・δω/4p・δt

## Slide 7: Requirements
High intensity DC μ+ beam
  >107/sec
High rate tolerable detectors
  All of >107/sec μ+ generate e+
  Pileup of γs become a source of high energy BG
High resolution detectors
  γ energy measurement is the most important
  Angle and time measurements are also effective

## Slide 8: The MEG Experiment
World’s most intense DC muon beam @ PSI
High-rate tolerable e+ spectrometer with gradient B-field
High performance γ-ray detector with Liquid Xenon
~60 collaborators
μ＋ beam
e+
γ
pE5 beamline @PSI
COBRA SC magnet
Drift chambers
Timing counters
LXe γ-ray detector

## Slide 9: MEG History
1999 |  | Proposal
… |  | … R&D …
2007 |  | Engineering run
2008 | Sep – Dec | 1st physics data acquisition
2009 |  | Analysis of 2008 data
 |  | Hardware upgrade
 | Nov – Dec | 2nd physics data acquisition
2010 |  | Analysis of 2009 data
 | Aug – Oct | 3rd physics data acquisition
2011 |  | Analysis of 2009&2010 data
now | July – Nov | 4th physics data acquisition
… |  | …
First result (2008 data) (Nucl.Phys.B834 1)
Sensitivity : 1.3×10-11
90% UL : 2.8×10-11
This talk
Preliminary result of 2009
(presented in conferences)
Sensitivity : 6.1×10-12
90% UL : 1.5×10-11
Final result of 2009 & 2010
(arXiv:11075547, accepted PRL)
Sensitivity : 1.6×10-12
90% UL : 2.4×10-12

## Slide 10: PSI 1.2MW proton ring-cyclotron
Switzerland
PSI
590 MeV
2.2mA
50MHz RF
Provides world’s most intense DC muon beam
(surface muon)
cf.
MEGA used pulsed beam
6% duty cycle
Instant intensity 2.6x108
average 1.3x107
MEG
Duty cycle 100%
instant=ave 3×107μ+/s

## Slide 11: Liquid xenon γ-ray detector
900 liter liquid xenon
  Scintillation medium
    High light yield (75% of NaI(Tl))
    Fast response (tdecay=45ns)
    High stopping power (X0=2.8cm)
    No self-absorption
    Uniform, no-aging
  Challenges
    Vacuum ultra-violet (178nm)
    Low temperature (165K)
    Need high purity
  No segmentation
Measure energy, position, time at once
  σE/E ~ 2% (@52.8MeV)
  σt = 80 psec
  σx = 5-6 mm
Active volume ~800l
Ω/4p = 11%
846 PMTs
50cm

## Slide 12: Cryostat
Inner vessel
2 layers of vacuum-tight cryostat
Thin window for γ entrance face
Entrance window with honeycomb structure

## Slide 13: PMT installation
2”PMT developed for MEG
  Quartz window for VUV
  K-Cs-Sb photocathode
  Al strip on photocathode
  Metal-channel dynodes
  Zener diode at last step of Bleeder

## Slide 14
Completed in 2007
The first ton-scale LXe detector
in the world in use

## Slide 15: Xenon system
High pressure
storage tank
1000L liquid dewar
Gas phase purifier
Detector
Liquid phase purifier
200W pulse-tube
refrigerator

## Slide 16: Xenon system:Purification
High pressure
storage tank
1000L liquid dewar
Gas phase purifier
Detector
Liquid phase purifier
200W pulse-tube
refrigerator
Liquid phase
purification
H2O
O2
Gas phase
purification
N2,
O2,
H2O,
etc.

## Slide 17: e+ spectrometer
μ+ beam
R
Uniform B-field
Gradient B-field
e+ quickly swept out
Constant bending radius independent
of emission angles

## Slide 18: Drift chamber
16 modules
  Aligned concentrically (10.5°)
  2 layers per module
12.5 μm thick cathode foil with vernier pattern
He:ethane = 50:50
Ultra low mass chamber
  Multiple scatter limits the performance
  Suppress γ BG source
  In total, along e+ trajectory ~2.0×10-3 X0
Tracking with Kalman filter
  Reconstruct e+ momentum vector on target
    σE/E = 0.7 %
    σθ ~ 18 mrad
    σφ ~ 10 mrad
Stopping
Target
Helium
atmosphere
Magnet coil

## Slide 19: Timing counter
4×4×80cm3 bar(BC404)
+ fine-mesh PMTs
beam-dir
6×6mm2 fiber
+ APDs
e+ time measured by a set of timing counter
  Two layers of plastic scintillator
  (z-measuring fiber counter is not used in 2008)
  σTC ~ 65 psec
Reconstruct muon decay time
  TC hit time - e+ flight length from DC
  LXe hit time - γ flight length (line)
  teγ = te+ － tγ
Total resolution : σteγ = 148 psec

## Slide 20: MEG Calibrations
Established

## Slide 21: Calibration1: CW
Cockcroft-Walton accelerator
17.6 MeV γ from Li(p,γ)Be reaction
  Prepared dedicated Cockcroft-Walton accelerator
  Shoot p beam from opposite side
  Easy to switch (20min)
  3 times per week
Non-uniformity calibration
Light yield monitor
μ+ beam
p beam

## Slide 22: Calibration2: p0
55MeV high-energy γ from p0 decay
  Evaluate resolutions
    (energy, position, time)
  Calibrate energy scale
p- from same beamline as μ+
  LH2 target
  Take several days for setup
  Conducted at beg. & end of physics run
Tag back-to-back γs with NaI detector
g
g
Tag back-to-back
NaI
- p → 0 n →  n
LH2
gamma energy (MeV)
55MeV
83MeV
NaI detector mover
180
170
opening angle (deg)

## Slide 23: RUN 2008

## Slide 24: 2008
Maintenance
Apr.
May
June
July
Aug.
Sep.
Oct.
Nov.
Dec.
installation
Conditioning
&
Michel run
p0 run
Trigger setup
BG study
p0 run
Physics run
2008

## Slide 25: 2008 Data
Programmed
Accelerator shutdown
RD run
The first 3 months data of MEG
  Normal physics data-taking
    MEG run w/ 11 mixed trigger
    Daily LED calibration w/ beam
    3/week Full calibration sets
    24h/week RD (low-intensity) run
Stopping rate | 3.0×107μ+/sec
Trigger rate | 6.5 Hz, 9 MB/sec
Live time | 3.3×106 sec (85%)
Total μ+ on target | 9.5×1013

## Slide 26: DCH discharge problem
DCH frequently discharged
  After a few months,
    Gradually some chambers started to discharge
  Inside magnet is filled with pure-Helium
    DCH-outside is exposed in He atmosphere (HV line)
Finally, out of 32 planes,
  18 planes were operational
  Only 12 planes worked at nominal voltage
Helium permeated into HV line slowly...
Degradation of e+
measurement
(efficiency / resolution)

## Slide 27: Variation of LXe light yield
Lower than expected
Recover by purification
Decrease by (possible) leak
Confirmed light yield monitoring
using several kinds of daily calibration
We decided to continue purification in parallel with DAQ
(gas phase: continuously, liquid phase: intermittently(beam shutdown))
purification
Energy scale measurement
Monitor Li(p,γ)Be
17.6MeV line
Finally, keep overall
energy scale
uncertainty under
0.4%

## Slide 28: Analysis

## Slide 29: Analysis
Blind analysis
  Hidden parameters: (Eγ, teγ)
  Any study (calibration, BG estimation, performance evaluation) can be done with events outside the box
Sideband
  Accidental BG can be studied with off-time sideband
  Radiative muon decay(RMD) can be studied with low-energy Eγ sideband
Normalization
  Count unbiased Michel sample mixed in physics data
Wide analysis region for likelihood fitting
  Estimate Sig & BG simultaneously.
  PDFs mostly from data
RMD peak
Random coincidence
μ→eγ
should be here

## Slide 30: Likelihood fit
Extended unbinned maximum likelihood fit on number of events
  3 fit parameters : (Nsig, NRMD, NBG), N=Nsig+NRMD+NBG
  5 observables : x = (Eγ, Ee, teγ, θeγ, φeγ)
  Probability density functions (PDFs) for each event type (S, R, B)
    Extract PDF from data
  Fit in wide region (10σ) to extract signal & background simultaneously
relative angle (inverse e+ direction－γ direction )
μ→eγ signal
Radiative muon decay
Accidental BG

## Slide 31: Gamma energy
Calibrate position-dependent response using CW-Li 17MeV γ
Measure response using p0-55MeV γ
  extract position dependently
Cross check with BG shape fit
Entrance face
p0 55MeV
BG fit
Response to
CW-Li line

## Slide 32: e+ momentum
Evaluate momentum response by fitting kinematical edge (52.8MeV) of Michel spectrum
Data
Fit
tracking by Kalman filter

## Slide 33: e+ emission angle
Evaluate angular resolution using 2-turn events
See difference of reconstructed angles by individual turns
?
σθ = 18 mrad
σφ = 10 mrad

## Slide 34: Muon decay vertex
Reconstruct μ-decay vertex as a point crossing e+ track and target plane
Evaluate resolution with
  Using holes on target
  Using 2-turn events
σx = 4.5 mm
σy = 3.2 mm
μ stopping target

## Slide 35: Gamma position
Data
MC
Evaluate resolution with p0 run with Pb bricks
  Shadow of brick gives resolution and bias
  Results
    σxy = 4.5~5mm, bias(RMS)=0.7mm
    Compared with MC
      1.8mm worse (in quadrature) than MC (← QE error)
Detailed study with MC
  Take in the difference
  Resolution dependence on relative position to PMT
σxy ~ 5 mm
σr ~ 6 mm
project

## Slide 36: Opening angle
Not able to measure gamma direction
  Direction of the line b/w μ-vertex and γ interaction point
Combined resolution: σθeγ = 20.6mrad, σφeγ = 13.9mrad

## Slide 37: Time resolution
Reconstruct muon decay time
  TC hit time - e+ flight length from DC
  LXe hit time - γ flight length (line)
  teγ = te+ － tγ
peak of radiative muon decay
Accidental
background
Physics data
low-Eγ region
Observe RMD peak in normal intensity data
Total resolution
  small correction for Eγ
  σteγ = 148±27 ps
RMD peak is a powerful time calibration tool,
measure all detector contribution at once,
in situ monitoring

## Slide 38: Background I
Background rate
  Measure with self-trigger data
  Compare with MC
    Reproduce well the rate and shape
MC
3.7×107 μ+decay/sec
Convolve response
Uncertainty ~7%
Not a fit

## Slide 39: Background II
Background level
  Difficult to get feeling of BG with likelihood analysis
  → Define signal box by resolution (1.64σ)
  Accidental BG
    Estimate using sideband
    Wider time & angle window
    0.95±0.15 events
  RMD events
    0.02±0.004 events
* wider window for angle

## Slide 40: Background III
Obtain BG PDF from time-sideband data
Positron
Gamma
  Smooth function of fitted MC spectrum⊗response as PDF
    Reduce systematic error from low statistics at high energy
  Position dependent (γ)

## Slide 41: Number of muons
B(μ+→e+γ) = Nsig / (5.2 ± 0.5)×1011
Normalization factor
Normalize signal events by # of muon decays counted in control samples
  Normalization channel 1: Count Michel e+
    Unbiased Michel trigger data mixed in physics run
    Insensitive to beam-rate or detector-condition variations
Cross check with other methods
  channel 2: Count RMD events
    In Eγ-sideband
  channel 3: Accidental BG rate
    In time-sideband
  Those three methods are complementary
    Most of the systematics are independent.
    Consistency check → good agreement

## Slide 42: Gamma efficiency
NaI
γ
γ
Tag
?
p0→2γ
Detection efficiency
  p02γ: NaI single trigger
  MC
  μ data single spectrum
  In analysis region
    (46<Eγ<60 MeV)
    εdet = 66%
Analysis efficiency
  Inefficiency by cuts
    (pileup cut, CR cut)
    5.5%
Consistent
within 5%
εγ = (63±4) %
Interact with material
before active volume
MC

## Slide 43: Sensitivity
Expected upper limit (90%CL) on ensemble of toy-experiments
  Null signal assumption
  Toy-experiment: generate events with obtained PDFs
  Repeat toy-experiments and calculate UL in the same way as real data
Sensitivity of RUN2008 : 1.3×10-11
c.f. Existing best upper limit: 1.2×10-11
800 experiments
<Nsig UL>=6.5

## Slide 44: Sideband analysis
Analyzed real data but off-timing
No signal in sidebands
Our dominant BG is accidental one
→ Good test of our sensitivity
Results of likelihood analysis
B(μ→eγ)< 0.9×10-11, 2.0×10-11
consistent with the sensitivity
μ→eγ
should be here
Fit to here

## Slide 45: Result
Opened the blind box …

## Slide 46: Fit to data (projected distributions)
teγ
Ee
Eγ
θeγ
φeγ
Total
Accidental
Radiative
Signal

## Slide 47: Fit to data (likelihood function)
teγ
Ee
Eγ
θeγ
φeγ
Nsig , NRMD , NBG
1,1.645,2 σ contours
Nsig , NRMD , NBG

## Slide 48: Upper limit on Nsig
Set confidence region with Frequentist approach
  Feldman-Cousins method in (Nsig,NRMD) 2D plane
Scan on NRD best-fit value
Nsig
90% confidence interval contains Nsig = 0
The upper limit is given as Nsig < 14.5

## Slide 49: Systematic uncertainties
Estimate the impact of systematics by performing fit with alternative parameters
  See the variation of the best-fit Nsig value
  UL : 14.5 → 14.7
ex) Eγ scale
Precision of 55MeV peak :0.08%
Trace of light yield :0.3%
Uncert of gain shift corr. : 0.2%
Total : 0.4%
Gamma: 6%
Positron: 7%

## Slide 50: Discussion
Why the obtained UL is much larger than the sensitivity?

## Slide 51: Candidate events
Rank events by event-type likelihood ratio S/B
Found the most signal-like event is double-pileup event
  Pileup elimination only worked on the 1st pileup γ
  If we eliminate the 2nd one as well, then Eγ was 47.7 MeV
S/B
Signal
BG
Data
Most likely, this event is an accidental BG

## Slide 52: Impact of the candidate event
Investigate impact of the event
  Set lower threshold for pileup search
  to eliminate the 2nd pileup
  Repeat the analysis
  Nsig UL becomes 11.4 (←14.5)
    Probability of Nsig UL > 11.4 is 5%

## Slide 53: Cut analysis
For cross-check and better understanding BG, performed cut analysis
  Two signal boxes
    A : 1.64σ box
    B ; Optimized box
BG are well consistent with the expectations
box A
box B

## Slide 54: Discussion
The large UL is considered to be statistical fluctuation
  A very rare event is observed accidentally
  If we set different pileup threshold, then the result is well consistent with
    Null result
    Sensitivity
    Cut analysis
Nevertheless, the obtained UL is statistically valid without any bias

## Slide 55: MEG RUN2008 result
MEGA UL : 1.2×10-11
MEG2008 sensitivity : 1.3×10-11

## Slide 56: Status & prospect
Chart: 
| 2008 | 2009 | 2010 | 2011 | 2012
Effective # of muons | 520000000000 | 1100000000000 | 2200000000000 | 4000000000000 | 4400000000000
2009
2009+2010
2008
MEG 90% limit
MEG sensitivity(expected)
MEGA limit
B < 2.4×10-12
Before 2009 run,
  solved DCH discharge problem
  reached full LXe light yield → stable
  improved trigger efficiency (66→91%)
Many improvement in analysis
  For the latest result, see talks in this meeting
    17pSE2-3: LXe detector
    17pSH1: e+ spectrometer
    19aSD1: Detector performance
    19aSD2: Physics analysis & result
MEG is running
  Run at least until the end of 2012
  to reach our goal of sensitivity a few ×10-13

## Slide 57: Conclusion
We started MEG data taking in Sep. 2008.
Searched for lepton-flavor violating decay μ+→e+γ with sensitivity 1.3×10-11
  Observed some excess, but still consistent with null signal
Set an upper limit:
  The first result of MEG experiment
  Could not give a record limit, but set an independent limit with a comparable sensitivity search
MEG is putting more & more stringent limit on new physics, with possibility of the discovery.
B(μ+→e+γ) < 2.8×10-11 @ 90% C.L.

## Slide 58: Thank you

## Slide 59: Calibration1: PMT
Typical PMT gain evolution
LED, a source inside LXe volume
  frequent & precise calibration
    daily
1 month
1.8e6
1.5e6

## Slide 60: LXe PMT rate dependent gain shift
December p0 run
10min
After correction
1%
2 months
LED peak
LED peak
1.6%
Observed shift of PMT gain
  Time scale of some dozens of minutes
  Rate dependent
  However, the amount of the shift is stable over long period
Measure LED during beam on, correct with beam info
  Correct with precision of 0.1 %
  However, shift in p0 run was unknown
    → Uncertainty of energy scale

## Slide 61: Time measurement
Monitor & correct t0 with RMD peak in low intensity run
  24 h/week, ×25 lower μ+ intensity
  Much better S/N
Observe drift of t0
due to change of LXe pulse shape
as improvement of purity
Stability after the correction < 20 psec
Sep
Dec
purification

## Slide 63: MEG Detector
x
z
y
x
θ
φ

## Slide 77: Summary of performance
improvement by waveform digitizer upgrade in 2010
e+ tracking slightly worse in 2010 due to noise problem

## Slide 78: (p,γ) reaction